## Directions
How to Calibrate and Test the Preformance of your F-751 Avocado Quality Meter
|  |  | Picture 1 |  | Picture 2
STEPS: | DIRECTIONS:
1 | Collect 10 Hass avocado fruit for the calibration. Make sure all fruit are relatively firm and not soft. The set should include fruit from as wide a range as possible, from low to high dry matter (at least a range of 10% dry matter; for example 20-30% dry matter). The wider the range of fruit the better.
2 | Prior to beginning measurements, ensure that all avocados are at room temperature by making sure they have been sitting out of direct sunlight in the room temperature setting (20-25C) for at least 2 hours. *If you will be scanning fruit at a temperature other than room temp, let the fruit equilibrate the same way at the required temperature.
3 | Number the avocados 1-10 using a silver or white permanent marker.
4 | Use 2 scan sites, equidistant from one another, around the equator of the fruit. We recommened using the dorsal and ventral side of the fruit.
5 | Mark the location of each scan site using the same silver or white permanent marker and lebel next to each scan site with the letters A or B. (Picture 1 and 2)
6 | Power the instrument ON and put the instrument into PostHarvest Mode.
7 | Create a new Bin using a number not already in use.
8 | Scanning should proceed in the following order: "1A, 1B, 2A, 2B, 3A, 3B…" NOTE: Performing a scan when viewing the Measurement Screen will allow you to take multiple scans of a single fruit, to progress to the next fruit, use the left arrow to view the Fruit Summary Screen and perform a new scan from this screen. Follow the on-screen prompts and the user manual to ensure that your data collection aligns with the instructions in this protocol.
10 | Once the scanning of all fruit is completed, archive the data by navigating to Archive Data and following the on-screen prompts to archive | Sample # | F-751 Avg. Prediction | Open the .txt file "PostHarvest_AppLog", paste entire contents HERE
11 | Power the instrument OFF. Eject the SD card and insert into your PC | 1 | 25.95
12 | Navigate to the Archive folder on the SD card and open the folder with the data you archived. | 2 | 28.91 |  | *EXAMPLE POSTHARVEST_APPLOG.TXT DATA BELOW*
13 | Open the .txt file called "AvocadoApp_AppLog" and copy and paste the entire contents in the cell indicated by the blue arrow (I13) | 3 | 27.56 |  | Timestamp | Measurement ID | Device ID | Plot | Latitude | Longitude | DM%
|  | 4 | 31.76 |  | 1980-01-01 00:31 | ca50f534-21d1-86e7-bbb2-f9f41e80df6b | 751-002-26015 | BIN001\Fruit1 | 0 | 0 | 25.95
|  | 5 | 29.03 |  | 1980-01-01 00:31 | ca50f534-21d1-86e7-bbb2-f9f41e80df6b | 751-002-26015 | BIN001\Fruit1 | 0 | 0 | 25.95
|  | 6 | 28.28 |  | 1980-01-01 00:34 | 5d596616-0d54-fdd1-39fc-a833db8b5182 | 751-002-26015 | BIN001\Fruit2 | 0 | 0 | 28.91
|  | 7 | 28.82 |  | 1980-01-01 00:34 | 5d596616-0d54-fdd1-39fc-a833db8b5182 | 751-002-26015 | BIN001\Fruit2 | 0 | 0 | 28.91
|  | 8 | 29.47 |  | 1980-01-01 00:36 | f5417830-1ee9-f978-d3ca-a45fa946bc55 | 751-002-26015 | BIN001\Fruit3 | 0 | 0 | 27.56
|  | 9 | 28.1 |  | 1980-01-01 00:36 | f5417830-1ee9-f978-d3ca-a45fa946bc55 | 751-002-26015 | BIN001\Fruit3 | 0 | 0 | 27.56
|  | 10 | 34.12 |  | 1980-01-01 00:38 | a98f2818-720c-f5d9-d881-6ea5626e9110 | 751-002-26015 | BIN001\Fruit4 | 0 | 0 | 31.76
[5 empty] | 1980-01-01 00:38 | a98f2818-720c-f5d9-d881-6ea5626e9110 | 751-002-26015 | BIN001\Fruit4 | 0 | 0 | 31.76
[5 empty] | 1980-01-01 00:40 | 55a51f6f-d757-609c-8013-3026cae00112 | 751-002-26015 | BIN001\Fruit5 | 0 | 0 | 29.03
[5 empty] | 1980-01-01 00:40 | 55a51f6f-d757-609c-8013-3026cae00112 | 751-002-26015 | BIN001\Fruit5 | 0 | 0 | 29.03
[5 empty] | 1980-01-01 00:42 | 22a159c1-7fb1-ac5e-7231-74848de7871d | 751-002-26015 | BIN001\Fruit6 | 0 | 0 | 28.28
[5 empty] | 1980-01-01 00:42 | 22a159c1-7fb1-ac5e-7231-74848de7871d | 751-002-26015 | BIN001\Fruit6 | 0 | 0 | 28.28
[5 empty] | 1980-01-01 00:44 | 5510cee7-5e9b-90f9-16d3-bc778dad8103 | 751-002-26015 | BIN001\Fruit7 | 0 | 0 | 28.82
[5 empty] | 1980-01-01 00:44 | 5510cee7-5e9b-90f9-16d3-bc778dad8103 | 751-002-26015 | BIN001\Fruit7 | 0 | 0 | 28.82
[5 empty] | 1980-01-01 00:46 | 2eb81af0-166a-a97d-7eec-c9a85c1689b8 | 751-002-26015 | BIN001\Fruit8 | 0 | 0 | 29.47
[5 empty] | 1980-01-01 00:46 | 2eb81af0-166a-a97d-7eec-c9a85c1689b8 | 751-002-26015 | BIN001\Fruit8 | 0 | 0 | 29.47
[5 empty] | 1980-01-01 00:48 | fc8bc325-008f-5939-f9da-d4d2da46ae08 | 751-002-26015 | BIN001\Fruit9 | 0 | 0 | 28.1
[5 empty] | 1980-01-01 00:48 | fc8bc325-008f-5939-f9da-d4d2da46ae08 | 751-002-26015 | BIN001\Fruit9 | 0 | 0 | 28.1
[5 empty] | 1980-01-01 00:52 | f4317942-131f-7f1b-af0d-68959ffc8ac1 | 751-002-26015 | BIN001\Fruit10 | 0 | 0 | 34.12
[5 empty] | 1980-01-01 00:52 | f4317942-131f-7f1b-af0d-68959ffc8ac1 | 751-002-26015 | BIN001\Fruit10 | 0 | 0 | 34.12
Blue arrows in this template indicate where you need to input your data!

## Analytical Dry Matter
STEPS: | DIRECTIONS:
1 | After the scans are complete, pre-weigh 20 empty, small weigh boats labeled with the sample number and scan letter (Ex. 1A, 1B, 2A, etc.) [Picture 1]
2 | Input the values of the weigh boats in the column marked "Boat Weight." Ideally, your scale should have a resolution of at least 0.001 g.
3 | Execute the next steps as quickly as possible to reduce the amount of water loss from the avocado samples.
4 | First, cut the avocado in half so that your scan sites are now on 2 different fruit halves and remove the pit (Picture 2).
5 | Next, take a circular core approximately 2.5 to 3 cm wide from the scan site labeled "A" (if you have a coring tool, take a core sample and plunge it through with the plunger and stoper) [Picture 3 and 4]. Keep the pulp that is closest to the skin (up to 1 cm deep), slice off the skin, and any remaining flesh from the core leaving only ~1-2cm of flesh (Picture 5 and 6).
6 | Place the sample core in the weigh boat and record the total weight in the column labeled "Boat+Fresh Core."
7 | Repeat steps 5-7 with the remaining scan sites.
8 | Repeat steps 4-8 for the remaining avocados.
9 | Dry the samples in a food dehydrator at 60-65°C for ~48 - 72 hours or follow your standardized microwave dehydration protocol, making sure not to burn any of the samples. | [8 empty] | Picture 1 | Picture 2 | Picture 3
10 | Remove any burned samples from the analysis.
11 | Remove 5 random samples from the dehydrator or oven, allow to cool, then weigh the samples. Record the weight in the column labeled "Boat + Dry Core INITIAL."
12 | Put the 5 samples back into the oven or dehydrator and allow them to dry for an additional 30 minutes.
13 | Remove the same 5 samples from steps 11-12 and allow to cool. Weigh the samples and record the weight in the column labeled "Boat + Dry Core FINAL." If the two values are within ± 0.01g, the cell will be highlighted green indicating the samples have been completely dried and you may proceed with the next step.
14 | Record the weight of the dried core in the weigh boat and record in column F marked "Boat + Dry Core FINAL."
15 | Proceed to the "Linear Regression" tab.
Your data goes here!
| Sample | Boat weight | Boat + Fresh Core | Wet Weight | Boat + Dry Core INITIAL | Boat + Dry Core FINAL | Dry Weight | % Dry Matter | Avg % Dry Matter | Picture 4 | Picture 5 | Picture 6
| 1A |  |  | 0 |  |  | 0 | #DIV/0! | #DIV/0!
| 1B |  |  | 0 |  |  | 0 | #DIV/0!
| 2A |  |  | 0 |  |  | 0 | #DIV/0! | #DIV/0!
| 2B |  |  | 0 |  |  | 0 | #DIV/0!
| 3A |  |  | 0 |  |  | 0 | #DIV/0! | #DIV/0!
| 3B |  |  | 0 |  |  | 0 | #DIV/0!
| 4A |  |  | 0 |  |  | 0 | #DIV/0! | #DIV/0!
| 4B |  |  | 0 |  |  | 0 | #DIV/0!
| 5A |  |  | 0 |  |  | 0 | #DIV/0! | #DIV/0!
| 5B |  |  | 0 |  |  | 0 | #DIV/0!
| 6A |  |  | 0 |  |  | 0 | #DIV/0! | #DIV/0!
| 6B |  |  | 0 |  |  | 0 | #DIV/0!
| 7A |  |  | 0 |  |  | 0 | #DIV/0! | #DIV/0!
| 7B |  |  | 0 |  |  | 0 | #DIV/0!
| 8A |  |  | 0 |  |  | 0 | #DIV/0! | #DIV/0!
| 8B |  |  | 0 |  |  | 0 | #DIV/0!
| 9A |  |  | 0 |  |  | 0 | #DIV/0! | #DIV/0!
| 9B |  |  | 0 |  |  | 0 | #DIV/0!
| 10A |  |  | 0 |  |  | 0 | #DIV/0! | #DIV/0!
| 10B |  |  | 0 |  |  | 0 | #DIV/0! |  | Picture 7 | Picture 8

## Linear Regression
Sample | 751 % DM Prediction | Analytical % DM | Corrected Prediction |  | F-751 Prediction | Analytical %DM | Measurement Offset
1 | 25.95 | #DIV/0! | #DIV/0! | All Fruit | 29.2 | #DIV/0! | #DIV/0!
2 | 28.91 | #DIV/0! | #DIV/0!
3 | 27.56 | #DIV/0! | #DIV/0!
4 | 31.76 | #DIV/0! | #DIV/0!
5 | 29.03 | #DIV/0! | #DIV/0!
6 | 28.28 | #DIV/0! | #DIV/0!
7 | 28.82 | #DIV/0! | #DIV/0!
8 | 29.47 | #DIV/0! | #DIV/0!
9 | 28.1 | #DIV/0! | #DIV/0!
10 | 34.12 | #DIV/0! | #DIV/0!
*Important Note: This worksheet does not require any data entry! Do not input any data into any cell in the tab!

## Intercept Update
Step | Direction
1 | To change the Measurement Offset, power on the device, press the right arrow to view the Main Menu, highlight Options, press the right arrow, highlight Measurement Offsets, press the right arrow, ensure DM is highlighted, and press the right arrow again.
2 | Input the current Measurement Offset value displayed on the device here:
3 | Change the Measurement Offset value to this: | #DIV/0!
4 | Press the right arrow to save the new Measurement Offset.
5 | Finally, turn the instrument off and back on before use. Congratulations, your device has been optimized!