# Instructions for updating the firmware on your F-751 Avocado Quality Meter

**This applies to Firmware Update Tool V2.0.2.17390 and newer.**

1. Download the firmware Update tool and Ann Avocado App Zip file to your local computer. This file is posted on the Felix Instruments website under the F-751 Avocado Software page and is Dated April 2021.   
   <https://felixinstruments.com/support/F-751-Avo/software/>
2. Right click on the Zipped folder and choose ***Extract All…*** , select a location where you would like to save the extracted files to.
3. Turn off the F-751, remove the SD card and insert it into the computer.
4. Backup the contents of the SD card.
5. Remove all files from the SD card. This step is optional but promotes a cleaner environment for saving files from the new firmware and app.
6. Copy the ANNAvocadoApp.app to the root directory of the SD card.
7. Run the firmware upgrade tool and follow the on-screen prompts.
8. The firmware upgrade is now complete.